## Sheet2
Data Code | Short Description | Long Description | Address | JSON
AA | Alarm – Panel Substitution | An attempt to substitute an alternate alarm panel for a secure panel has been made | Condition number | "AA": {"Code": "AA", "Type": "Alarm – Panel Substitution", "Description": "An attempt to substitute an alternate alarm panel for a secure panel has been made", "Concerns": "Condition number" },
AB | Abort | An event message was not sent due to User action | Zone or point | "AB": {"Code": "AB", "Type": "Abort", "Description": "An event message was not sent due to User action", "Concerns": "Zone or point" },
AN | Analog Restoral | An analog fire sensor has been restored to normal operation | Zone or point | "AN": {"Code": "AN", "Type": "Analog Restoral", "Description": "An analog fire sensor has been restored to normal operation", "Concerns": "Zone or point" },
AR | AC Restoral | AC power has been restored | Unused | "AR": {"Code": "AR", "Type": "AC Restoral", "Description": "AC power has been restored", "Concerns": "Unused" },
AS | Analog Service | An analog fire sensor needs to be cleaned or calibrated | Zone or point | "AS": {"Code": "AS", "Type": "Analog Service", "Description": "An analog fire sensor needs to be cleaned or calibrated", "Concerns": "Zone or point" },
AT | AC Trouble | AC power has been failed | Unused | "AT": {"Code": "AT", "Type": "AC Trouble", "Description": "AC power has been failed", "Concerns": "Unused" },
BA | Burglary Alarm | Burglary zone has been violated while armed | Zone or point | "BA": {"Code": "BA", "Type": "Burglary Alarm", "Description": "Burglary zone has been violated while armed", "Concerns": "Zone or point" },
BB | Burglary Bypass | Burglary zone has been bypassed | Zone or point | "BB": {"Code": "BB", "Type": "Burglary Bypass", "Description": "Burglary zone has been bypassed", "Concerns": "Zone or point" },
BC | Burglary Cancel | Alarm has been cancelled by authorized user | User number | "BC": {"Code": "BC", "Type": "Burglary Cancel", "Description": "Alarm has been cancelled by authorized user", "Concerns": "User number" },
BD | Swinger Trouble | A non-fire zone has been violated after a Swinger Shutdown on the zone | Zone or point | "BD": {"Code": "BD", "Type": "Swinger Trouble", "Description": "A non-fire zone has been violated after a Swinger Shutdown on the zone", "Concerns": "Zone or point" },
BE | Swinger Trouble Restore | A non-fire zone restores to normal from a Swinger Trouble state | Zone or point | "BE": {"Code": "BE", "Type": "Swinger Trouble Restore", "Description": "A non-fire zone restores to normal from a Swinger Trouble state", "Concerns": "Zone or point" },
BG | Unverified Event - Burglary | A point assigned to a Cross Point group has gone into alarm but the Cross Point remained normal | Zone or point | "BG": {"Code": "BG", "Type": "Unverified Event - Burglary", "Description": "A point assigned to a Cross Point group has gone into alarm but the Cross Point remained normal", "Concerns": "Zone or point" },
BH | Burglary Alarm Restore | Alarm condition eliminated | Zone or point | "BH": {"Code": "BH", "Type": "Burglary Alarm Restore", "Description": "Alarm condition eliminated", "Concerns": "Zone or point" },
BJ | Burglary Trouble Restore | Trouble condition eliminated | Zone or point | "BJ": {"Code": "BJ", "Type": "Burglary Trouble Restore", "Description": "Trouble condition eliminated", "Concerns": "Zone or point" },
BM | Burglary Alarm - Cross Point | Burglary alarm w/cross point also in alarm - alarm verified | Zone or point | "BM": {"Code": "BM", "Type": "Burglary Alarm - Cross Point", "Description": "Burglary alarm w/cross point also in alarm - alarm verified", "Concerns": "Zone or point" },
BR | Burglary Restoral | Alarm/trouble condition has been eliminated | Zone or point | "BR": {"Code": "BR", "Type": "Burglary Restoral", "Description": "Alarm/trouble condition has been eliminated", "Concerns": "Zone or point" },
BS | Burglary Supervisory | Unsafe intrusion detection system condition | Zone or point | "BS": {"Code": "BS", "Type": "Burglary Supervisory", "Description": "Unsafe intrusion detection system condition", "Concerns": "Zone or point" },
BT | Burglary Trouble | Burglary zone disabled by fault | Zone or point | "BT": {"Code": "BT", "Type": "Burglary Trouble", "Description": "Burglary zone disabled by fault", "Concerns": "Zone or point" },
BU | Burglary Unbypass | Zone bypass has been removed | Zone or point | "BU": {"Code": "BU", "Type": "Burglary Unbypass", "Description": "Zone bypass has been removed", "Concerns": "Zone or point" },
BV | Burglary Verified | A burglary alarm has occurred and been verified within programmed conditions. (zone or point not sent) | Area number | "BV": {"Code": "BV", "Type": "Burglary Verified", "Description": "A burglary alarm has occurred and been verified within programmed conditions. (zone or point not sent)", "Concerns": "Area number" },
BX | Burglary Test | Burglary zone activated during testing | Zone or point | "BX": {"Code": "BX", "Type": "Burglary Test", "Description": "Burglary zone activated during testing", "Concerns": "Zone or point" },
BZ | Missing Supervision | A non-fire Supervisory point has gone missing | Zone or point | "BZ": {"Code": "BZ", "Type": "Missing Supervision", "Description": "A non-fire Supervisory point has gone missing", "Concerns": "Zone or point" },
CA | Automatic Closing | System armed automatically | Area number | "CA": {"Code": "CA", "Type": "Automatic Closing", "Description": "System armed automatically", "Concerns": "Area number" },
CD | Closing Delinquent | The system has not been armed for a programmed amount of time | Area number | "CD": {"Code": "CD", "Type": "Closing Delinquent", "Description": "The system has not been armed for a programmed amount of time", "Concerns": "Area number" },
CE | Closing Extend | Extend closing time | User number | "CE": {"Code": "CE", "Type": "Closing Extend", "Description": "Extend closing time", "Concerns": "User number" },
CF | Forced Closing | System armed, some zones not ready | User number | "CF": {"Code": "CF", "Type": "Forced Closing", "Description": "System armed, some zones not ready", "Concerns": "User number" },
CG | Close Area | System has been partially armed | Area number | "CG": {"Code": "CG", "Type": "Close Area", "Description": "System has been partially armed", "Concerns": "Area number" },
CI | Fail to Close | An area has not been armed at the end of the closing window | Area number | "CI": {"Code": "CI", "Type": "Fail to Close", "Description": "An area has not been armed at the end of the closing window", "Concerns": "Area number" },
CJ | Late Close | An area was armed after the closing window | User number | "CJ": {"Code": "CJ", "Type": "Late Close", "Description": "An area was armed after the closing window", "Concerns": "User number" },
CK | Early Close | An area was armed before the closing window | User number | "CK": {"Code": "CK", "Type": "Early Close", "Description": "An area was armed before the closing window", "Concerns": "User number" },
CL | Closing Report | System armed, normal | User number | "CL": {"Code": "CL", "Type": "Closing Report", "Description": "System armed, normal", "Concerns": "User number" },
CM | Missing Alarm - Recent Closing | A point has gone missing within 2 minutes of closing | Zone or point | "CM": {"Code": "CM", "Type": "Missing Alarm - Recent Closing", "Description": "A point has gone missing within 2 minutes of closing", "Concerns": "Zone or point" },
CO | Command Sent | A command has been sent to an expansion/peripheral device | Condition number | "CO": {"Code": "CO", "Type": "Command Sent", "Description": "A command has been sent to an expansion/peripheral device", "Concerns": "Condition number" },
CP | Automatic Closing | System armed automatically | User number | "CP": {"Code": "CP", "Type": "Automatic Closing", "Description": "System armed automatically", "Concerns": "User number" },
CQ | Remote Closing | The system was armed from a remote location | User number | "CQ": {"Code": "CQ", "Type": "Remote Closing", "Description": "The system was armed from a remote location", "Concerns": "User number" },
CR | Recent Closing | An alarm occurred within five minutes after the system was closed | User number | "CR": {"Code": "CR", "Type": "Recent Closing", "Description": "An alarm occurred within five minutes after the system was closed", "Concerns": "User number" },
CS | Closing Keyswitch | Account has been armed by keyswitch | Zone or point | "CS": {"Code": "CS", "Type": "Closing Keyswitch", "Description": "Account has been armed by keyswitch", "Concerns": "Zone or point" },
CT | Late to Open | System was not disarmed on time | Area number | "CT": {"Code": "CT", "Type": "Late to Open", "Description": "System was not disarmed on time", "Concerns": "Area number" },
CW | Was Force Armed | Header for a force armed session, forced point msgs may follow | Area number | "CW": {"Code": "CW", "Type": "Was Force Armed", "Description": "Header for a force armed session, forced point msgs may follow", "Concerns": "Area number" },
CX | Custom Function Executed | The panel has executed a preprogrammed set of instructions | Custom Function number | "CX": {"Code": "CX", "Type": "Custom Function Executed", "Description": "The panel has executed a preprogrammed set of instructions", "Concerns": "Custom Function number" },
CZ | Point Closing | A point, as opposed to a whole area or account, has closed | Zone or point | "CZ": {"Code": "CZ", "Type": "Point Closing", "Description": "A point, as opposed to a whole area or account, has closed", "Concerns": "Zone or point" },
DA | Card Assigned | An access ID has been added to the controller | User number | "DA": {"Code": "DA", "Type": "Card Assigned", "Description": "An access ID has been added to the controller", "Concerns": "User number" },
DB | Card Deleted | An access ID has been deleted from the controller | User number | "DB": {"Code": "DB", "Type": "Card Deleted", "Description": "An access ID has been deleted from the controller", "Concerns": "User number" },
DC | Access Closed | Access to all users prohibited | Door number | "DC": {"Code": "DC", "Type": "Access Closed", "Description": "Access to all users prohibited", "Concerns": "Door number" },
DD | Access Denied | Access denied, unknown code | Door number | "DD": {"Code": "DD", "Type": "Access Denied", "Description": "Access denied, unknown code", "Concerns": "Door number" },
DE | Request to Enter | An access point was opened via a Request to Enter device | Door number | "DE": {"Code": "DE", "Type": "Request to Enter", "Description": "An access point was opened via a Request to Enter device", "Concerns": "Door number" },
DF | Door Forced | Door opened without access request | Door number | "DF": {"Code": "DF", "Type": "Door Forced", "Description": "Door opened without access request", "Concerns": "Door number" },
DG | Access Granted | Door access granted | Door number | "DG": {"Code": "DG", "Type": "Access Granted", "Description": "Door access granted", "Concerns": "Door number" },
DH | Door Left Open - Restoral | An access point in a Door Left Open state has restored | Door number | "DH": {"Code": "DH", "Type": "Door Left Open - Restoral", "Description": "An access point in a Door Left Open state has restored", "Concerns": "Door number" },
DI | Access Denied – Passback | Access denied because credential has not exited area before attempting to re-enter same area | Door number | "DI": {"Code": "DI", "Type": "Access Denied – Passback", "Description": "Access denied because credential has not exited area before attempting to re-enter same area", "Concerns": "Door number" },
DJ | Door Forced - Trouble | An access point has been forced open in an unarmed area | Door number | "DJ": {"Code": "DJ", "Type": "Door Forced - Trouble", "Description": "An access point has been forced open in an unarmed area", "Concerns": "Door number" },
DK | Access Lockout | Access denied, known code | Door number | "DK": {"Code": "DK", "Type": "Access Lockout", "Description": "Access denied, known code", "Concerns": "Door number" },
DL | Door Left Open - Alarm | An open access point when open time expired in an armed area | Door number | "DL": {"Code": "DL", "Type": "Door Left Open - Alarm", "Description": "An open access point when open time expired in an armed area", "Concerns": "Door number" },
DM | Door Left Open - Trouble | An open access point when open time expired in an unarmed area | Door number | "DM": {"Code": "DM", "Type": "Door Left Open - Trouble", "Description": "An open access point when open time expired in an unarmed area", "Concerns": "Door number" },
DN | Door Left Open (non-alarm, non-trouble) | An access point was open when the door cycle time expired | Door number | "DN": {"Code": "DN", "Type": "Door Left Open (non-alarm, non-trouble)", "Description": "An access point was open when the door cycle time expired", "Concerns": "Door number" },
DO | Access Open | Access to authorized users allowed | Door number | "DO": {"Code": "DO", "Type": "Access Open", "Description": "Access to authorized users allowed", "Concerns": "Door number" },
DP | Access Denied - Unauthorized Time | An access request was denied because the request is occurring outside the user’s authorized time window(s) | Door number | "DP": {"Code": "DP", "Type": "Access Denied - Unauthorized Time", "Description": "An access request was denied because the request is occurring outside the user’s authorized time window(s)", "Concerns": "Door number" },
DQ | Access Denied - Unauthorized Arming State | An access request was denied because the user was not authorized in this area when the area was armed | Door number | "DQ": {"Code": "DQ", "Type": "Access Denied - Unauthorized Arming State", "Description": "An access request was denied because the user was not authorized in this area when the area was armed", "Concerns": "Door number" },
DR | Door Restoral | Access alarm/trouble condition eliminated | Door number | "DR": {"Code": "DR", "Type": "Door Restoral", "Description": "Access alarm/trouble condition eliminated", "Concerns": "Door number" },
DS | Door Station | Identifies door for next report | Door number | "DS": {"Code": "DS", "Type": "Door Station", "Description": "Identifies door for next report", "Concerns": "Door number" },
DT | Access Trouble | Access system trouble | Unused | "DT": {"Code": "DT", "Type": "Access Trouble", "Description": "Access system trouble", "Concerns": "Unused" },
DU | Dealer ID | Dealer ID number | Dealer ID | "DU": {"Code": "DU", "Type": "Dealer ID", "Description": "Dealer ID number", "Concerns": "Dealer ID" },
DV | Access Denied - Unauthorized Entry Level | An access request was denied because the user is not authorized in this area | Door number | "DV": {"Code": "DV", "Type": "Access Denied - Unauthorized Entry Level", "Description": "An access request was denied because the user is not authorized in this area", "Concerns": "Door number" },
DW | Access Denied - Interlock | An access request was denied because the doors associated Interlock point is open | Door number | "DW": {"Code": "DW", "Type": "Access Denied - Interlock", "Description": "An access request was denied because the doors associated Interlock point is open", "Concerns": "Door number" },
DX | Request to Exit | An access point was opened via a Request to Exit device | Door number | "DX": {"Code": "DX", "Type": "Request to Exit", "Description": "An access point was opened via a Request to Exit device", "Concerns": "Door number" },
DY | Door Locked | The door’s lock has been engaged | Door number | "DY": {"Code": "DY", "Type": "Door Locked", "Description": "The door’s lock has been engaged", "Concerns": "Door number" },
DZ | Access Denied - Door Secured | An access request was denied because the door has been placed in an Access Closed state | Door number | "DZ": {"Code": "DZ", "Type": "Access Denied - Door Secured", "Description": "An access request was denied because the door has been placed in an Access Closed state", "Concerns": "Door number" },
EA | Exit Alarm | An exit zone remained violated at the end of the exit delay period | Zone or point | "EA": {"Code": "EA", "Type": "Exit Alarm", "Description": "An exit zone remained violated at the end of the exit delay period", "Concerns": "Zone or point" },
EE | Exit Error | An exit zone remained violated at the end of the exit delay period | User number | "EE": {"Code": "EE", "Type": "Exit Error", "Description": "An exit zone remained violated at the end of the exit delay period", "Concerns": "User number" },
EJ | Expansion Tamper Restore | Expansion device tamper restoral | Expansion device number | "EJ": {"Code": "EJ", "Type": "Expansion Tamper Restore", "Description": "Expansion device tamper restoral", "Concerns": "Expansion device number" },
EM | Expansion Device Missing | Expansion device missing | Expansion device number | "EM": {"Code": "EM", "Type": "Expansion Device Missing", "Description": "Expansion device missing", "Concerns": "Expansion device number" },
EN | Expansion Missing Restore | Expansion device communications re-established | Expansion device number | "EN": {"Code": "EN", "Type": "Expansion Missing Restore", "Description": "Expansion device communications re-established", "Concerns": "Expansion device number" },
ER | Expansion Restoral | Expansion device trouble eliminated | Expander number | "ER": {"Code": "ER", "Type": "Expansion Restoral", "Description": "Expansion device trouble eliminated", "Concerns": "Expander number" },
ES | Expansion Device Tamper | Expansion device enclosure tamper | Expansion device number | "ES": {"Code": "ES", "Type": "Expansion Device Tamper", "Description": "Expansion device enclosure tamper", "Concerns": "Expansion device number" },
ET | Expansion Trouble | Expansion device trouble | Expander number | "ET": {"Code": "ET", "Type": "Expansion Trouble", "Description": "Expansion device trouble", "Concerns": "Expander number" },
EX | External Device Condition | A specific reportable condition is detected on an external device | Device number | "EX": {"Code": "EX", "Type": "External Device Condition", "Description": "A specific reportable condition is detected on an external device", "Concerns": "Device number" },
EZ | Missing Alarm - Exit Error | A point remained missing at the end of the exit delay period | Point number | "EZ": {"Code": "EZ", "Type": "Missing Alarm - Exit Error", "Description": "A point remained missing at the end of the exit delay period", "Concerns": "Point number" },
FA | Fire Alarm | Fire condition detected | Zone or point | "FA": {"Code": "FA", "Type": "Fire Alarm", "Description": "Fire condition detected", "Concerns": "Zone or point" },
FB | Fire Bypass | Zone has been bypassed | Zone or point | "FB": {"Code": "FB", "Type": "Fire Bypass", "Description": "Zone has been bypassed", "Concerns": "Zone or point" },
FC | Fire Cancel | A Fire Alarm has been cancelled by an authorized person | Zone or point | "FC": {"Code": "FC", "Type": "Fire Cancel", "Description": "A Fire Alarm has been cancelled by an authorized person", "Concerns": "Zone or point" },
FG | Unverified Event – Fire | A point assigned to a Cross Point group has gone into alarm but the Cross Point remained normal | Zone or point | "FG": {"Code": "FG", "Type": "Unverified Event – Fire", "Description": "A point assigned to a Cross Point group has gone into alarm but the Cross Point remained normal", "Concerns": "Zone or point" },
FH | Fire Alarm Restore | Alarm condition eliminated | Zone or point | "FH": {"Code": "FH", "Type": "Fire Alarm Restore", "Description": "Alarm condition eliminated", "Concerns": "Zone or point" },
FI | Fire Test Begin | The transmitter area's fire test has begun | Area number | "FI": {"Code": "FI", "Type": "Fire Test Begin", "Description": "The transmitter area's fire test has begun", "Concerns": "Area number" },
FJ | Fire Trouble Restore | Trouble condition eliminated | Zone or point | "FJ": {"Code": "FJ", "Type": "Fire Trouble Restore", "Description": "Trouble condition eliminated", "Concerns": "Zone or point" },
FK | Fire Test End | The transmitter area's fire test has ended | Area number | "FK": {"Code": "FK", "Type": "Fire Test End", "Description": "The transmitter area's fire test has ended", "Concerns": "Area number" },
FL | Fire Alarm Silenced | The fire panel’s sounder was silenced by command | Zone or point | "FL": {"Code": "FL", "Type": "Fire Alarm Silenced", "Description": "The fire panel’s sounder was silenced by command", "Concerns": "Zone or point" },
FM | Fire Alarm - Cross Point | Fire Alarm with Cross Point also in alarm verifying the Fire Alarm | Point number | "FM": {"Code": "FM", "Type": "Fire Alarm - Cross Point", "Description": "Fire Alarm with Cross Point also in alarm verifying the Fire Alarm", "Concerns": "Point number" },
FQ | Fire Supervisory Trouble Restore | A fire supervisory zone that was in trouble condition has now restored to normal | Zone or point | "FQ": {"Code": "FQ", "Type": "Fire Supervisory Trouble Restore", "Description": "A fire supervisory zone that was in trouble condition has now restored to normal", "Concerns": "Zone or point" },
FR | Fire Restoral | Alarm/trouble condition has been eliminated | Zone or point | "FR": {"Code": "FR", "Type": "Fire Restoral", "Description": "Alarm/trouble condition has been eliminated", "Concerns": "Zone or point" },
FS | Fire Supervisory | Unsafe fire detection system condition | Zone or point | "FS": {"Code": "FS", "Type": "Fire Supervisory", "Description": "Unsafe fire detection system condition", "Concerns": "Zone or point" },
FT | Fire Trouble | Zone disabled by fault | Zone or point | "FT": {"Code": "FT", "Type": "Fire Trouble", "Description": "Zone disabled by fault", "Concerns": "Zone or point" },
FU | Fire Unbypass | Bypass has been removed | Zone or point | "FU": {"Code": "FU", "Type": "Fire Unbypass", "Description": "Bypass has been removed", "Concerns": "Zone or point" },
FV | Fire Supervision Restore | A fire supervision zone that was in alarm has restored to normal | Zone or point | "FV": {"Code": "FV", "Type": "Fire Supervision Restore", "Description": "A fire supervision zone that was in alarm has restored to normal", "Concerns": "Zone or point" },
FW | Fire Supervisory Trouble | A fire supervisory zone is now in a trouble condition | Zone or point | "FW": {"Code": "FW", "Type": "Fire Supervisory Trouble", "Description": "A fire supervisory zone is now in a trouble condition", "Concerns": "Zone or point" },
FX | Fire Test | Fire zone activated during test | Zone or point | "FX": {"Code": "FX", "Type": "Fire Test", "Description": "Fire zone activated during test", "Concerns": "Zone or point" },
FY | Missing Fire Trouble | A fire point is now logically missing | Zone or point | "FY": {"Code": "FY", "Type": "Missing Fire Trouble", "Description": "A fire point is now logically missing", "Concerns": "Zone or point" },
FZ | Missing Fire Supervision | A Fire Supervisory point has gone missing | Zone or point | "FZ": {"Code": "FZ", "Type": "Missing Fire Supervision", "Description": "A Fire Supervisory point has gone missing", "Concerns": "Zone or point" },
GA | Gas Alarm | Gas alarm condition detected | Zone or point | "GA": {"Code": "GA", "Type": "Gas Alarm", "Description": "Gas alarm condition detected", "Concerns": "Zone or point" },
GB | Gas Bypass | Zone has been bypassed | Zone or point | "GB": {"Code": "GB", "Type": "Gas Bypass", "Description": "Zone has been bypassed", "Concerns": "Zone or point" },
GH | Gas Alarm Restore | Alarm condition eliminated | Zone or point | "GH": {"Code": "GH", "Type": "Gas Alarm Restore", "Description": "Alarm condition eliminated", "Concerns": "Zone or point" },
GJ | Gas Trouble Restore | Trouble condition eliminated | Zone or point | "GJ": {"Code": "GJ", "Type": "Gas Trouble Restore", "Description": "Trouble condition eliminated", "Concerns": "Zone or point" },
GR | Gas Restoral | Alarm/trouble condition has been eliminated | Zone or point | "GR": {"Code": "GR", "Type": "Gas Restoral", "Description": "Alarm/trouble condition has been eliminated", "Concerns": "Zone or point" },
GS | Gas Supervisory | Unsafe gas detection system condition | Zone or point | "GS": {"Code": "GS", "Type": "Gas Supervisory", "Description": "Unsafe gas detection system condition", "Concerns": "Zone or point" },
GT | Gas Trouble | Zone disabled by fault | Zone or point | "GT": {"Code": "GT", "Type": "Gas Trouble", "Description": "Zone disabled by fault", "Concerns": "Zone or point" },
GU | Gas Unbypass | Bypass has been removed | Zone or point | "GU": {"Code": "GU", "Type": "Gas Unbypass", "Description": "Bypass has been removed", "Concerns": "Zone or point" },
GX | Gas Test | Zone activated during test | Zone or point | "GX": {"Code": "GX", "Type": "Gas Test", "Description": "Zone activated during test", "Concerns": "Zone or point" },
HA | Holdup Alarm | Silent alarm, user under duress | Zone or point | "HA": {"Code": "HA", "Type": "Holdup Alarm", "Description": "Silent alarm, user under duress", "Concerns": "Zone or point" },
HB | Holdup Bypass | Zone has been bypassed | Zone or point | "HB": {"Code": "HB", "Type": "Holdup Bypass", "Description": "Zone has been bypassed", "Concerns": "Zone or point" },
HH | Holdup Alarm Restore | Alarm condition eliminated | Zone or point | "HH": {"Code": "HH", "Type": "Holdup Alarm Restore", "Description": "Alarm condition eliminated", "Concerns": "Zone or point" },
HJ | Holdup Trouble Restore | Trouble condition eliminated | Zone or point | "HJ": {"Code": "HJ", "Type": "Holdup Trouble Restore", "Description": "Trouble condition eliminated", "Concerns": "Zone or point" },
HR | Holdup Restoral | Alarm/trouble condition has been eliminated | Zone or point | "HR": {"Code": "HR", "Type": "Holdup Restoral", "Description": "Alarm/trouble condition has been eliminated", "Concerns": "Zone or point" },
HS | Holdup Supervisory | Unsafe holdup system condition | Zone or point | "HS": {"Code": "HS", "Type": "Holdup Supervisory", "Description": "Unsafe holdup system condition", "Concerns": "Zone or point" },
HT | Holdup Trouble | Zone disabled by fault | Zone or point | "HT": {"Code": "HT", "Type": "Holdup Trouble", "Description": "Zone disabled by fault", "Concerns": "Zone or point" },
HU | Holdup Unbypass | Bypass has been removed | Zone or point | "HU": {"Code": "HU", "Type": "Holdup Unbypass", "Description": "Bypass has been removed", "Concerns": "Zone or point" },
IA | Equipment Failure Condition | A specific, reportable condition is detected on a device | Point number | "IA": {"Code": "IA", "Type": "Equipment Failure Condition", "Description": "A specific, reportable condition is detected on a device", "Concerns": "Point number" },
IR | Equipment Fail - Restoral | The equipment condition has been restored to normal | Point number | "IR": {"Code": "IR", "Type": "Equipment Fail - Restoral", "Description": "The equipment condition has been restored to normal", "Concerns": "Point number" },
JA | User Code Tamper | Too many unsuccessful attempts have been made to enter a user ID | Area number | "JA": {"Code": "JA", "Type": "User Code Tamper", "Description": "Too many unsuccessful attempts have been made to enter a user ID", "Concerns": "Area number" },
JD | Date Changed | The date was changed in the transmitter/receiver | User number | "JD": {"Code": "JD", "Type": "Date Changed", "Description": "The date was changed in the transmitter/receiver", "Concerns": "User number" },
JH | Holiday Changed | The transmitter's holiday schedule has been changed | User number | "JH": {"Code": "JH", "Type": "Holiday Changed", "Description": "The transmitter's holiday schedule has been changed", "Concerns": "User number" },
JK | Latchkey Alert | A designated user passcode has not been entered during a scheduled time window | User number | "JK": {"Code": "JK", "Type": "Latchkey Alert", "Description": "A designated user passcode has not been entered during a scheduled time window", "Concerns": "User number" },
JL | Log Threshold | The transmitter's log memory has reached its threshold level | Unused | "JL": {"Code": "JL", "Type": "Log Threshold", "Description": "The transmitter's log memory has reached its threshold level", "Concerns": "Unused" },
JO | Log Overflow | The transmitter's log memory has overflowed | Unused | "JO": {"Code": "JO", "Type": "Log Overflow", "Description": "The transmitter's log memory has overflowed", "Concerns": "Unused" },
JP | User On Premises | A designated user passcode has been used to gain access to the premises. | User number | "JP": {"Code": "JP", "Type": "User On Premises", "Description": "A designated user passcode has been used to gain access to the premises.", "Concerns": "User number" },
JR | Schedule Executed | An automatic scheduled event was executed | Area number | "JR": {"Code": "JR", "Type": "Schedule Executed", "Description": "An automatic scheduled event was executed", "Concerns": "Area number" },
JS | Schedule Changed | An automatic schedule was changed | User number | "JS": {"Code": "JS", "Type": "Schedule Changed", "Description": "An automatic schedule was changed", "Concerns": "User number" },
JT | Time Changed | The time was changed in the transmitter/receiver | User number | "JT": {"Code": "JT", "Type": "Time Changed", "Description": "The time was changed in the transmitter/receiver", "Concerns": "User number" },
JV | User Code Changed | A user's code has been changed | User number | "JV": {"Code": "JV", "Type": "User Code Changed", "Description": "A user's code has been changed", "Concerns": "User number" },
JX | User Code Deleted | A user's code has been removed | User number | "JX": {"Code": "JX", "Type": "User Code Deleted", "Description": "A user's code has been removed", "Concerns": "User number" },
JY | User Code Added | A user’s code has been added | User number | "JY": {"Code": "JY", "Type": "User Code Added", "Description": "A user’s code has been added", "Concerns": "User number" },
JZ | User Level Set | A user’s authority level has been set | User number | "JZ": {"Code": "JZ", "Type": "User Level Set", "Description": "A user’s authority level has been set", "Concerns": "User number" },
KA | Heat Alarm | High temperature detected on premise | Zone or point | "KA": {"Code": "KA", "Type": "Heat Alarm", "Description": "High temperature detected on premise", "Concerns": "Zone or point" },
KB | Heat Bypass | Zone has been bypassed | Zone or point | "KB": {"Code": "KB", "Type": "Heat Bypass", "Description": "Zone has been bypassed", "Concerns": "Zone or point" },
KH | Heat Alarm Restore | Alarm condition eliminated | Zone or point | "KH": {"Code": "KH", "Type": "Heat Alarm Restore", "Description": "Alarm condition eliminated", "Concerns": "Zone or point" },
KJ | Heat Trouble Restore | Trouble condition eliminated | Zone or point | "KJ": {"Code": "KJ", "Type": "Heat Trouble Restore", "Description": "Trouble condition eliminated", "Concerns": "Zone or point" },
KR | Heat Restoral | Alarm/trouble condition has been eliminated | Zone or point | "KR": {"Code": "KR", "Type": "Heat Restoral", "Description": "Alarm/trouble condition has been eliminated", "Concerns": "Zone or point" },
KS | Heat Supervisory | Unsafe heat detection system condition | Zone or point | "KS": {"Code": "KS", "Type": "Heat Supervisory", "Description": "Unsafe heat detection system condition", "Concerns": "Zone or point" },
KT | Heat Trouble | Zone disabled by fault | Zone or point | "KT": {"Code": "KT", "Type": "Heat Trouble", "Description": "Zone disabled by fault", "Concerns": "Zone or point" },
KU | Heat Unbypass | Bypass has been removed | Zone or point | "KU": {"Code": "KU", "Type": "Heat Unbypass", "Description": "Bypass has been removed", "Concerns": "Zone or point" },
LB | Local Program | Begin local programming | Unused | "LB": {"Code": "LB", "Type": "Local Program", "Description": "Begin local programming", "Concerns": "Unused" },
LD | Local Program Denied | Access code incorrect | Unused | "LD": {"Code": "LD", "Type": "Local Program Denied", "Description": "Access code incorrect", "Concerns": "Unused" },
LE | Listen-in Ended | The listen-in session has been terminated | Unused | "LE": {"Code": "LE", "Type": "Listen-in Ended", "Description": "The listen-in session has been terminated", "Concerns": "Unused" },
LF | Listen-in Begin | The listen-in session with the RECEIVER has begun | Unused | "LF": {"Code": "LF", "Type": "Listen-in Begin", "Description": "The listen-in session with the RECEIVER has begun", "Concerns": "Unused" },
LR | Phone Line Restoral | Phone line restored to service | Line number | "LR": {"Code": "LR", "Type": "Phone Line Restoral", "Description": "Phone line restored to service", "Concerns": "Line number" },
LS | Local Program Success | Local programming successful | Unused | "LS": {"Code": "LS", "Type": "Local Program Success", "Description": "Local programming successful", "Concerns": "Unused" },
LT | Phone Line Trouble | Phone line trouble report | Line number | "LT": {"Code": "LT", "Type": "Phone Line Trouble", "Description": "Phone line trouble report", "Concerns": "Line number" },
LU | Local Program Fail | Local programming unsuccessful | Unused | "LU": {"Code": "LU", "Type": "Local Program Fail", "Description": "Local programming unsuccessful", "Concerns": "Unused" },
LX | Local Programming Ended | A local programming session has been terminated | Unused | "LX": {"Code": "LX", "Type": "Local Programming Ended", "Description": "A local programming session has been terminated", "Concerns": "Unused" },
MA | Medical Alarm | Emergency assistance request | Zone or point | "MA": {"Code": "MA", "Type": "Medical Alarm", "Description": "Emergency assistance request", "Concerns": "Zone or point" },
MB | Medical Bypass | Zone has been bypassed | Zone or point | "MB": {"Code": "MB", "Type": "Medical Bypass", "Description": "Zone has been bypassed", "Concerns": "Zone or point" },
MH | Medical Alarm Restore | Alarm condition eliminated | Zone or point | "MH": {"Code": "MH", "Type": "Medical Alarm Restore", "Description": "Alarm condition eliminated", "Concerns": "Zone or point" },
MI | Message | A canned message is being sent | Message number | "MI": {"Code": "MI", "Type": "Message", "Description": "A canned message is being sent", "Concerns": "Message number" },
MJ | Medical Trouble Restore | Trouble condition eliminated | Zone or point | "MJ": {"Code": "MJ", "Type": "Medical Trouble Restore", "Description": "Trouble condition eliminated", "Concerns": "Zone or point" },
MR | Medical Restoral | Alarm/trouble condition has been eliminated | Zone or point | "MR": {"Code": "MR", "Type": "Medical Restoral", "Description": "Alarm/trouble condition has been eliminated", "Concerns": "Zone or point" },
MS | Medical Supervisory | Unsafe system condition exists | Zone or point | "MS": {"Code": "MS", "Type": "Medical Supervisory", "Description": "Unsafe system condition exists", "Concerns": "Zone or point" },
MT | Medical Trouble | Zone disabled by fault | Zone or point | "MT": {"Code": "MT", "Type": "Medical Trouble", "Description": "Zone disabled by fault", "Concerns": "Zone or point" },
MU | Medical Unbypass | Bypass has been removed | Zone or point | "MU": {"Code": "MU", "Type": "Medical Unbypass", "Description": "Bypass has been removed", "Concerns": "Zone or point" },
NA | No Activity | There has been no zone activity for a programmed amount of time | Zone number | "NA": {"Code": "NA", "Type": "No Activity", "Description": "There has been no zone activity for a programmed amount of time", "Concerns": "Zone number" },
NC | Network Condition | A communications network has a specific reportable condition | Network number | "NC": {"Code": "NC", "Type": "Network Condition", "Description": "A communications network has a specific reportable condition", "Concerns": "Network number" },
NF | Forced Perimeter Arm | Some zones/points not ready | Area number | "NF": {"Code": "NF", "Type": "Forced Perimeter Arm", "Description": "Some zones/points not ready", "Concerns": "Area number" },
NL | Perimeter Armed | An area has been perimeter armed | Area number | "NL": {"Code": "NL", "Type": "Perimeter Armed", "Description": "An area has been perimeter armed", "Concerns": "Area number" },
NM | Perimeter Armed, User Defined | A user defined area has been perimeter armed | Area number | "NM": {"Code": "NM", "Type": "Perimeter Armed, User Defined", "Description": "A user defined area has been perimeter armed", "Concerns": "Area number" },
NR | Network Restoral | A communications network has returned to normal operation | Network number | "NR": {"Code": "NR", "Type": "Network Restoral", "Description": "A communications network has returned to normal operation", "Concerns": "Network number" },
NS | Activity Resumed | A zone has detected activity after an alert | Zone number | "NS": {"Code": "NS", "Type": "Activity Resumed", "Description": "A zone has detected activity after an alert", "Concerns": "Zone number" },
NT | Network Failure | A communications network has failed | Network number | "NT": {"Code": "NT", "Type": "Network Failure", "Description": "A communications network has failed", "Concerns": "Network number" },
OA | Automatic Opening | System has disarmed automatically | Area number | "OA": {"Code": "OA", "Type": "Automatic Opening", "Description": "System has disarmed automatically", "Concerns": "Area number" },
OC | Cancel Report | Untyped zone cancel | User number | "OC": {"Code": "OC", "Type": "Cancel Report", "Description": "Untyped zone cancel", "Concerns": "User number" },
OG | Open Area | System has been partially disarmed | Area number | "OG": {"Code": "OG", "Type": "Open Area", "Description": "System has been partially disarmed", "Concerns": "Area number" },
OH | Early to Open from Alarm | An area in alarm was disarmed before the opening window | User number | "OH": {"Code": "OH", "Type": "Early to Open from Alarm", "Description": "An area in alarm was disarmed before the opening window", "Concerns": "User number" },
OI | Fail to Open | An area has not been armed at the end of the opening window | Area number | "OI": {"Code": "OI", "Type": "Fail to Open", "Description": "An area has not been armed at the end of the opening window", "Concerns": "Area number" },
OJ | Late Open | An area was disarmed after the opening window | User number | "OJ": {"Code": "OJ", "Type": "Late Open", "Description": "An area was disarmed after the opening window", "Concerns": "User number" },
OK | Early Open | An area was disarmed before the opening window | User number | "OK": {"Code": "OK", "Type": "Early Open", "Description": "An area was disarmed before the opening window", "Concerns": "User number" },
OL | Late to Open from Alarm | An area in alarm was disarmed after the opening window | User number | "OL": {"Code": "OL", "Type": "Late to Open from Alarm", "Description": "An area in alarm was disarmed after the opening window", "Concerns": "User number" },
OP | Opening Report | Account was disarmed | User number | "OP": {"Code": "OP", "Type": "Opening Report", "Description": "Account was disarmed", "Concerns": "User number" },
OQ | Remote Opening | The system was disarmed from a remote location | User number | "OQ": {"Code": "OQ", "Type": "Remote Opening", "Description": "The system was disarmed from a remote location", "Concerns": "User number" },
OR | Disarm From Alarm | Account in alarm was reset/disarmed | User number | "OR": {"Code": "OR", "Type": "Disarm From Alarm", "Description": "Account in alarm was reset/disarmed", "Concerns": "User number" },
OS | Opening Keyswitch | Account has been disarmed by keyswitch | Zone or point | "OS": {"Code": "OS", "Type": "Opening Keyswitch", "Description": "Account has been disarmed by keyswitch", "Concerns": "Zone or point" },
OT | Late To Close | System was not armed on time | User number | "OT": {"Code": "OT", "Type": "Late To Close", "Description": "System was not armed on time", "Concerns": "User number" },
OU | Output State – Trouble | An output on a peripheral device or NAC is not functioning | Output number | "OU": {"Code": "OU", "Type": "Output State – Trouble", "Description": "An output on a peripheral device or NAC is not functioning", "Concerns": "Output number" },
OV | Output State – Restore | An output on a peripheral device or NAC is back to normal operation | Output number | "OV": {"Code": "OV", "Type": "Output State – Restore", "Description": "An output on a peripheral device or NAC is back to normal operation", "Concerns": "Output number" },
OZ | Point Opening | A point, rather than a full area or account, disarmed | Zone or point | "OZ": {"Code": "OZ", "Type": "Point Opening", "Description": "A point, rather than a full area or account, disarmed", "Concerns": "Zone or point" },
PA | Panic Alarm | Emergency assistance request, manually activated | Zone or point | "PA": {"Code": "PA", "Type": "Panic Alarm", "Description": "Emergency assistance request, manually activated", "Concerns": "Zone or point" },
PB | Panic Bypass | Panic zone has been bypassed | Zone or point | "PB": {"Code": "PB", "Type": "Panic Bypass", "Description": "Panic zone has been bypassed", "Concerns": "Zone or point" },
PH | Panic Alarm Restore | Alarm condition eliminated | Zone or point | "PH": {"Code": "PH", "Type": "Panic Alarm Restore", "Description": "Alarm condition eliminated", "Concerns": "Zone or point" },
PJ | Panic Trouble Restore | Trouble condition eliminated | Zone or point | "PJ": {"Code": "PJ", "Type": "Panic Trouble Restore", "Description": "Trouble condition eliminated", "Concerns": "Zone or point" },
PR | Panic Restoral | Alarm/trouble condition has been eliminated | Zone or point | "PR": {"Code": "PR", "Type": "Panic Restoral", "Description": "Alarm/trouble condition has been eliminated", "Concerns": "Zone or point" },
PS | Panic Supervisory | Unsafe system condition exists | Zone or point | "PS": {"Code": "PS", "Type": "Panic Supervisory", "Description": "Unsafe system condition exists", "Concerns": "Zone or point" },
PT | Panic Trouble | Zone disabled by fault | Zone or point | "PT": {"Code": "PT", "Type": "Panic Trouble", "Description": "Zone disabled by fault", "Concerns": "Zone or point" },
PU | Panic Unbypass | Panic zone bypass has been removed | Zone or point | "PU": {"Code": "PU", "Type": "Panic Unbypass", "Description": "Panic zone bypass has been removed", "Concerns": "Zone or point" },
QA | Emergency Alarm | Emergency assistance request | Zone or point | "QA": {"Code": "QA", "Type": "Emergency Alarm", "Description": "Emergency assistance request", "Concerns": "Zone or point" },
QB | Emergency Bypass | Zone has been bypassed | Zone or point | "QB": {"Code": "QB", "Type": "Emergency Bypass", "Description": "Zone has been bypassed", "Concerns": "Zone or point" },
QH | Emergency Alarm Restore | Alarm condition has been eliminated | Zone or point | "QH": {"Code": "QH", "Type": "Emergency Alarm Restore", "Description": "Alarm condition has been eliminated", "Concerns": "Zone or point" },
QJ | Emergency Trouble Restore | Trouble condition has been eliminated | Zone or point | "QJ": {"Code": "QJ", "Type": "Emergency Trouble Restore", "Description": "Trouble condition has been eliminated", "Concerns": "Zone or point" },
QR | Emergency Restoral | Alarm/trouble condition has been eliminated | Zone or point | "QR": {"Code": "QR", "Type": "Emergency Restoral", "Description": "Alarm/trouble condition has been eliminated", "Concerns": "Zone or point" },
QS | Emergency Supervisory | Unsafe system condition exists | Zone or point | "QS": {"Code": "QS", "Type": "Emergency Supervisory", "Description": "Unsafe system condition exists", "Concerns": "Zone or point" },
QT | Emergency Trouble | Zone disabled by fault | Zone or point | "QT": {"Code": "QT", "Type": "Emergency Trouble", "Description": "Zone disabled by fault", "Concerns": "Zone or point" },
QU | Emergency Unbypass | Bypass has been removed | Zone or point | "QU": {"Code": "QU", "Type": "Emergency Unbypass", "Description": "Bypass has been removed", "Concerns": "Zone or point" },
RA | Remote Programmer Call Failed | Transmitter failed to communicate with the remote programmer | Unused | "RA": {"Code": "RA", "Type": "Remote Programmer Call Failed", "Description": "Transmitter failed to communicate with the remote programmer", "Concerns": "Unused" },
RB | Remote Program Begin | Remote programming session initiated | Unused | "RB": {"Code": "RB", "Type": "Remote Program Begin", "Description": "Remote programming session initiated", "Concerns": "Unused" },
RC | Relay Close | A relay has energized | Relay number | "RC": {"Code": "RC", "Type": "Relay Close", "Description": "A relay has energized", "Concerns": "Relay number" },
RD | Remote Program Denied | Access passcode incorrect | Unused | "RD": {"Code": "RD", "Type": "Remote Program Denied", "Description": "Access passcode incorrect", "Concerns": "Unused" },
RN | Remote Reset | A TRANSMITTER was reset via a remote programmer | Unused | "RN": {"Code": "RN", "Type": "Remote Reset", "Description": "A TRANSMITTER was reset via a remote programmer", "Concerns": "Unused" },
RO | Relay Open | A relay has de-energized | Relay number | "RO": {"Code": "RO", "Type": "Relay Open", "Description": "A relay has de-energized", "Concerns": "Relay number" },
RP | Automatic Test | Automatic communication test report | Unused | "RP": {"Code": "RP", "Type": "Automatic Test", "Description": "Automatic communication test report", "Concerns": "Unused" },
RR | Power Up | System lost power, is now restored | Unused | "RR": {"Code": "RR", "Type": "Power Up", "Description": "System lost power, is now restored", "Concerns": "Unused" },
RS | Remote Program Success | Remote programming successful | Unused | "RS": {"Code": "RS", "Type": "Remote Program Success", "Description": "Remote programming successful", "Concerns": "Unused" },
RT | Data Lost | Dialer data lost, transmission error | Line number | "RT": {"Code": "RT", "Type": "Data Lost", "Description": "Dialer data lost, transmission error", "Concerns": "Line number" },
RU | Remote Program Fail | Remote programming unsuccessful | Unused | "RU": {"Code": "RU", "Type": "Remote Program Fail", "Description": "Remote programming unsuccessful", "Concerns": "Unused" },
RX | Manual Test | Manual communication test report | User number | "RX": {"Code": "RX", "Type": "Manual Test", "Description": "Manual communication test report", "Concerns": "User number" },
RY | Test Off Normal | Test signal(s) indicates abnormal condition(s) exist | Zone or point | "RY": {"Code": "RY", "Type": "Test Off Normal", "Description": "Test signal(s) indicates abnormal condition(s) exist", "Concerns": "Zone or point" },
SA | Sprinkler Alarm | Sprinkler flow condition exists | Zone or point | "SA": {"Code": "SA", "Type": "Sprinkler Alarm", "Description": "Sprinkler flow condition exists", "Concerns": "Zone or point" },
SB | Sprinkler Bypass | Sprinkler zone has been bypassed | Zone or point | "SB": {"Code": "SB", "Type": "Sprinkler Bypass", "Description": "Sprinkler zone has been bypassed", "Concerns": "Zone or point" },
SC | Change of State | An expansion/peripheral device is reporting a new condition or state change | Condition number | "SC": {"Code": "SC", "Type": "Change of State", "Description": "An expansion/peripheral device is reporting a new condition or state change", "Concerns": "Condition number" },
SH | Sprinkler Alarm Restore | Alarm condition eliminated | Zone or point | "SH": {"Code": "SH", "Type": "Sprinkler Alarm Restore", "Description": "Alarm condition eliminated", "Concerns": "Zone or point" },
SJ | Sprinkler Trouble Restore | Trouble condition eliminated | Zone or point | "SJ": {"Code": "SJ", "Type": "Sprinkler Trouble Restore", "Description": "Trouble condition eliminated", "Concerns": "Zone or point" },
SR | Sprinkler Restoral | Alarm/trouble condition has been eliminated | Zone or point | "SR": {"Code": "SR", "Type": "Sprinkler Restoral", "Description": "Alarm/trouble condition has been eliminated", "Concerns": "Zone or point" },
SS | Sprinkler Supervisory | Unsafe sprinkler system condition | Zone or point | "SS": {"Code": "SS", "Type": "Sprinkler Supervisory", "Description": "Unsafe sprinkler system condition", "Concerns": "Zone or point" },
ST | Sprinkler Trouble | Zone disabled by fault | Zone or point | "ST": {"Code": "ST", "Type": "Sprinkler Trouble", "Description": "Zone disabled by fault", "Concerns": "Zone or point" },
SU | Sprinkler Unbypass | Sprinkler zone bypass has been removed | Zone or point | "SU": {"Code": "SU", "Type": "Sprinkler Unbypass", "Description": "Sprinkler zone bypass has been removed", "Concerns": "Zone or point" },
TA | Tamper Alarm | Alarm equipment enclosure opened | Zone or point | "TA": {"Code": "TA", "Type": "Tamper Alarm", "Description": "Alarm equipment enclosure opened", "Concerns": "Zone or point" },
TB | Tamper Bypass | Tamper detection has been bypassed | Zone or point | "TB": {"Code": "TB", "Type": "Tamper Bypass", "Description": "Tamper detection has been bypassed", "Concerns": "Zone or point" },
TC | All Points Tested | All point tested | Unused | "TC": {"Code": "TC", "Type": "All Points Tested", "Description": "All point tested", "Concerns": "Unused" },
TE | Test End | Communicator restored to operation | Unused | "TE": {"Code": "TE", "Type": "Test End", "Description": "Communicator restored to operation", "Concerns": "Unused" },
TH | Tamper Alarm Restore | An Expansion Device’s tamper switch restores to normal from an Alarm state | Unused | "TH": {"Code": "TH", "Type": "Tamper Alarm Restore", "Description": "An Expansion Device’s tamper switch restores to normal from an Alarm state", "Concerns": "Unused" },
TJ | Tamper Trouble Restore | An Expansion Device’s tamper switch restores to normal from a Trouble state | Unused | "TJ": {"Code": "TJ", "Type": "Tamper Trouble Restore", "Description": "An Expansion Device’s tamper switch restores to normal from a Trouble state", "Concerns": "Unused" },
TP | Walk Test Point | This point was tested during a Walk Test | Point number | "TP": {"Code": "TP", "Type": "Walk Test Point", "Description": "This point was tested during a Walk Test", "Concerns": "Point number" },
TR | Tamper Restoral | Alarm equipment enclosure has been closed | Zone or point | "TR": {"Code": "TR", "Type": "Tamper Restoral", "Description": "Alarm equipment enclosure has been closed", "Concerns": "Zone or point" },
TS | Test Start | Communicator taken out of operation | Unused | "TS": {"Code": "TS", "Type": "Test Start", "Description": "Communicator taken out of operation", "Concerns": "Unused" },
TT | Tamper Trouble | Equipment enclosure opened in disarmed state | Zone or point | "TT": {"Code": "TT", "Type": "Tamper Trouble", "Description": "Equipment enclosure opened in disarmed state", "Concerns": "Zone or point" },
TU | Tamper Unbypass | Tamper detection bypass has been removed | Zone or point | "TU": {"Code": "TU", "Type": "Tamper Unbypass", "Description": "Tamper detection bypass has been removed", "Concerns": "Zone or point" },
TW | Area Watch Start | Area watch feature has been activated | Unused | "TW": {"Code": "TW", "Type": "Area Watch Start", "Description": "Area watch feature has been activated", "Concerns": "Unused" },
TX | Test Report | An unspecified (manual or automatic) communicator test | Unused | "TX": {"Code": "TX", "Type": "Test Report", "Description": "An unspecified (manual or automatic) communicator test", "Concerns": "Unused" },
TZ | Area Watch End | Area watch feature has been deactivated | Unused | "TZ": {"Code": "TZ", "Type": "Area Watch End", "Description": "Area watch feature has been deactivated", "Concerns": "Unused" },
UA | Untyped Zone Alarm | Alarm condition from zone of unknown type | Zone or point | "UA": {"Code": "UA", "Type": "Untyped Zone Alarm", "Description": "Alarm condition from zone of unknown type", "Concerns": "Zone or point" },
UB | Untyped Zone Bypass | Zone of unknown type has been bypassed | Zone or point | "UB": {"Code": "UB", "Type": "Untyped Zone Bypass", "Description": "Zone of unknown type has been bypassed", "Concerns": "Zone or point" },
UG | Unverified Event – Untyped | A point assigned to a Cross Point group has gone into alarm but the Cross Point remained normal | Zone or point | "UG": {"Code": "UG", "Type": "Unverified Event – Untyped", "Description": "A point assigned to a Cross Point group has gone into alarm but the Cross Point remained normal", "Concerns": "Zone or point" },
UH | Untyped Alarm Restore | Alarm condition eliminated | Zone or point | "UH": {"Code": "UH", "Type": "Untyped Alarm Restore", "Description": "Alarm condition eliminated", "Concerns": "Zone or point" },
UJ | Untyped Trouble Restore | Trouble condition eliminated | Zone or point | "UJ": {"Code": "UJ", "Type": "Untyped Trouble Restore", "Description": "Trouble condition eliminated", "Concerns": "Zone or point" },
UR | Untyped Zone Restoral | Alarm/trouble condition eliminated from zone of unknown type | Zone or point | "UR": {"Code": "UR", "Type": "Untyped Zone Restoral", "Description": "Alarm/trouble condition eliminated from zone of unknown type", "Concerns": "Zone or point" },
US | Untyped Zone Supervisory | Unsafe condition from zone of unknown type | Zone or point | "US": {"Code": "US", "Type": "Untyped Zone Supervisory", "Description": "Unsafe condition from zone of unknown type", "Concerns": "Zone or point" },
UT | Untyped Zone Trouble | Trouble condition from zone of unknown type | Zone or point | "UT": {"Code": "UT", "Type": "Untyped Zone Trouble", "Description": "Trouble condition from zone of unknown type", "Concerns": "Zone or point" },
UU | Untyped Zone Unbypass | Bypass on zone of unknown type has been removed | Zone or point | "UU": {"Code": "UU", "Type": "Untyped Zone Unbypass", "Description": "Bypass on zone of unknown type has been removed", "Concerns": "Zone or point" },
UX | Undefined | An undefined alarm condition has occurred | Unused | "UX": {"Code": "UX", "Type": "Undefined", "Description": "An undefined alarm condition has occurred", "Concerns": "Unused" },
UY | Untyped Missing Trouble | A point or device which was not armed is now logically missing | Zone or point | "UY": {"Code": "UY", "Type": "Untyped Missing Trouble", "Description": "A point or device which was not armed is now logically missing", "Concerns": "Zone or point" },
UZ | Untyped Missing Alarm | A point or device which was armed is now logically missing | Zone or point | "UZ": {"Code": "UZ", "Type": "Untyped Missing Alarm", "Description": "A point or device which was armed is now logically missing", "Concerns": "Zone or point" },
VI | Printer Paper In | TRANSMITTER or RECEIVER paper in | Printer number | "VI": {"Code": "VI", "Type": "Printer Paper In", "Description": "TRANSMITTER or RECEIVER paper in", "Concerns": "Printer number" },
VO | Printer Paper Out | TRANSMITTER or RECEIVER paper out | Printer number | "VO": {"Code": "VO", "Type": "Printer Paper Out", "Description": "TRANSMITTER or RECEIVER paper out", "Concerns": "Printer number" },
VR | Printer Restore | TRANSMITTER or RECEIVER trouble restored | Printer number | "VR": {"Code": "VR", "Type": "Printer Restore", "Description": "TRANSMITTER or RECEIVER trouble restored", "Concerns": "Printer number" },
VT | Printer Trouble | TRANSMITTER or RECEIVER trouble | Printer number | "VT": {"Code": "VT", "Type": "Printer Trouble", "Description": "TRANSMITTER or RECEIVER trouble", "Concerns": "Printer number" },
VX | Printer Test | TRANSMITTER or RECEIVER test | Printer number | "VX": {"Code": "VX", "Type": "Printer Test", "Description": "TRANSMITTER or RECEIVER test", "Concerns": "Printer number" },
VY | Printer Online | RECEIVER’S printer is now online | Unused | "VY": {"Code": "VY", "Type": "Printer Online", "Description": "RECEIVER’S printer is now online", "Concerns": "Unused" },
VZ | Printer Offline | RECEIVER’S printer is now offline | Unused | "VZ": {"Code": "VZ", "Type": "Printer Offline", "Description": "RECEIVER’S printer is now offline", "Concerns": "Unused" },
WA | Water Alarm | Water detected at protected premises | Zone or point | "WA": {"Code": "WA", "Type": "Water Alarm", "Description": "Water detected at protected premises", "Concerns": "Zone or point" },
WB | Water Bypass | Water detection has been bypassed | Zone or point | "WB": {"Code": "WB", "Type": "Water Bypass", "Description": "Water detection has been bypassed", "Concerns": "Zone or point" },
WH | Water Alarm Restore | Water alarm condition eliminated | Zone or point | "WH": {"Code": "WH", "Type": "Water Alarm Restore", "Description": "Water alarm condition eliminated", "Concerns": "Zone or point" },
WJ | Water Trouble Restore | Water trouble condition eliminated | Zone or point | "WJ": {"Code": "WJ", "Type": "Water Trouble Restore", "Description": "Water trouble condition eliminated", "Concerns": "Zone or point" },
WR | Water Restoral | Water alarm/trouble condition has been eliminated | Zone or point | "WR": {"Code": "WR", "Type": "Water Restoral", "Description": "Water alarm/trouble condition has been eliminated", "Concerns": "Zone or point" },
WS | Water Supervisory | Water unsafe water detection system condition | Zone or point | "WS": {"Code": "WS", "Type": "Water Supervisory", "Description": "Water unsafe water detection system condition", "Concerns": "Zone or point" },
WT | Water Trouble | Water zone disabled by fault | Zone or point | "WT": {"Code": "WT", "Type": "Water Trouble", "Description": "Water zone disabled by fault", "Concerns": "Zone or point" },
WU | Water Unbypass | Water detection bypass has been removed | Zone or point | "WU": {"Code": "WU", "Type": "Water Unbypass", "Description": "Water detection bypass has been removed", "Concerns": "Zone or point" },
XA | Extra Account Report | CS RECEIVER has received an event from a non-existent account | Unused | "XA": {"Code": "XA", "Type": "Extra Account Report", "Description": "CS RECEIVER has received an event from a non-existent account", "Concerns": "Unused" },
XE | Extra Point | Panel has sensed an extra point not specified for this site | Point number | "XE": {"Code": "XE", "Type": "Extra Point", "Description": "Panel has sensed an extra point not specified for this site", "Concerns": "Point number" },
XF | Extra RF Point | Panel has sensed an extra RF point not specified for this site | Point number | "XF": {"Code": "XF", "Type": "Extra RF Point", "Description": "Panel has sensed an extra RF point not specified for this site", "Concerns": "Point number" },
XH | RF Interference Restoral | A radio device is no longer detecting RF Interference | Receiver number | "XH": {"Code": "XH", "Type": "RF Interference Restoral", "Description": "A radio device is no longer detecting RF Interference", "Concerns": "Receiver number" },
XI | Sensor Reset | A user has reset a sensor | Zone or point | "XI": {"Code": "XI", "Type": "Sensor Reset", "Description": "A user has reset a sensor", "Concerns": "Zone or point" },
XJ | RF Receiver Tamper Restoral | A Tamper condition at a premises RF Receiver has been restored | Receiver number | "XJ": {"Code": "XJ", "Type": "RF Receiver Tamper Restoral", "Description": "A Tamper condition at a premises RF Receiver has been restored", "Concerns": "Receiver number" },
XL | Low Received Signal Strength | The RF signal strength of a reported event is below minimum level | Receiver number | "XL": {"Code": "XL", "Type": "Low Received Signal Strength", "Description": "The RF signal strength of a reported event is below minimum level", "Concerns": "Receiver number" },
XM | Missing Alarm - Cross Point | Missing Alarm verified by Cross Point in Alarm (or missing) | Zone or point | "XM": {"Code": "XM", "Type": "Missing Alarm - Cross Point", "Description": "Missing Alarm verified by Cross Point in Alarm (or missing)", "Concerns": "Zone or point" },
XQ | RF Interference | A radio device is detecting RF Interference | Receiver number | "XQ": {"Code": "XQ", "Type": "RF Interference", "Description": "A radio device is detecting RF Interference", "Concerns": "Receiver number" },
XR | Transmitter Battery Restoral | Low battery has been corrected | Zone or point | "XR": {"Code": "XR", "Type": "Transmitter Battery Restoral", "Description": "Low battery has been corrected", "Concerns": "Zone or point" },
XS | RF Receiver Tamper | A Tamper condition at a premises receiver is detected | Receiver number | "XS": {"Code": "XS", "Type": "RF Receiver Tamper", "Description": "A Tamper condition at a premises receiver is detected", "Concerns": "Receiver number" },
XT | Transmitter Battery Trouble | Low battery in wireless transmitter | Zone or point | "XT": {"Code": "XT", "Type": "Transmitter Battery Trouble", "Description": "Low battery in wireless transmitter", "Concerns": "Zone or point" },
XW | Forced Point | A point was forced out of the system at arm time | Zone or point | "XW": {"Code": "XW", "Type": "Forced Point", "Description": "A point was forced out of the system at arm time", "Concerns": "Zone or point" },
XX | Fail to Test | A specific test from a panel was not received | Unused | "XX": {"Code": "XX", "Type": "Fail to Test", "Description": "A specific test from a panel was not received", "Concerns": "Unused" },
YA | Bell Fault | A trouble condition has been detected on a Local Bell, Siren, or Annunciator | Unused | "YA": {"Code": "YA", "Type": "Bell Fault", "Description": "A trouble condition has been detected on a Local Bell, Siren, or Annunciator", "Concerns": "Unused" },
YB | Busy Seconds | Percent of time receiver's line card is on-line | Line card number | "YB": {"Code": "YB", "Type": "Busy Seconds", "Description": "Percent of time receiver's line card is on-line", "Concerns": "Line card number" },
YC | Communications Fail | RECEIVER and TRANSMITTER | Unused | "YC": {"Code": "YC", "Type": "Communications Fail", "Description": "RECEIVER and TRANSMITTER", "Concerns": "Unused" },
YD | Receiver Line Card Trouble | A line card identified by the passed address is in trouble | Line card number | "YD": {"Code": "YD", "Type": "Receiver Line Card Trouble", "Description": "A line card identified by the passed address is in trouble", "Concerns": "Line card number" },
YE | Receiver Line Card Restored | A line card identified by the passed address is restored | Line card number | "YE": {"Code": "YE", "Type": "Receiver Line Card Restored", "Description": "A line card identified by the passed address is restored", "Concerns": "Line card number" },
YF | Parameter Checksum Fail | System data corrupted | Unused | "YF": {"Code": "YF", "Type": "Parameter Checksum Fail", "Description": "System data corrupted", "Concerns": "Unused" },
YG | Parameter Changed | A TRANSMITTER’S parameters have been changed | Unused | "YG": {"Code": "YG", "Type": "Parameter Changed", "Description": "A TRANSMITTER’S parameters have been changed", "Concerns": "Unused" },
YH | Bell Restored | A trouble condition has been restored on a Local Bell, Siren, or Annunciator | Unused | "YH": {"Code": "YH", "Type": "Bell Restored", "Description": "A trouble condition has been restored on a Local Bell, Siren, or Annunciator", "Concerns": "Unused" },
YI | Overcurrent Trouble | An Expansion Device has detected an overcurrent condition | Unused | "YI": {"Code": "YI", "Type": "Overcurrent Trouble", "Description": "An Expansion Device has detected an overcurrent condition", "Concerns": "Unused" },
YJ | Overcurrent Restore | An Expansion Device has restored from an overcurrent condition | Unused | "YJ": {"Code": "YJ", "Type": "Overcurrent Restore", "Description": "An Expansion Device has restored from an overcurrent condition", "Concerns": "Unused" },
YK | Communications Restoral | TRANSMITTER has resumed communication with a RECEIVER | Unused | "YK": {"Code": "YK", "Type": "Communications Restoral", "Description": "TRANSMITTER has resumed communication with a RECEIVER", "Concerns": "Unused" },
YM | System Battery Missing | TRANSMITTER/RECEIVER battery is missing | Unused | "YM": {"Code": "YM", "Type": "System Battery Missing", "Description": "TRANSMITTER/RECEIVER battery is missing", "Concerns": "Unused" },
YN | Invalid Report | TRANSMITTER has sent a packet with invalid data | Unused | "YN": {"Code": "YN", "Type": "Invalid Report", "Description": "TRANSMITTER has sent a packet with invalid data", "Concerns": "Unused" },
YO | Unknown Message | An unknown message was received from automation or the printer | Unused | "YO": {"Code": "YO", "Type": "Unknown Message", "Description": "An unknown message was received from automation or the printer", "Concerns": "Unused" },
YP | Power Supply Trouble | TRANSMITTER/RECEIVER has a problem with the power supply | Unused | "YP": {"Code": "YP", "Type": "Power Supply Trouble", "Description": "TRANSMITTER/RECEIVER has a problem with the power supply", "Concerns": "Unused" },
YQ | Power Supply Restored | TRANSMITTER’S/RECEIVER’S power supply has been restored | Unused | "YQ": {"Code": "YQ", "Type": "Power Supply Restored", "Description": "TRANSMITTER’S/RECEIVER’S power supply has been restored", "Concerns": "Unused" },
YR | System Battery Restoral | Low battery has been corrected | Unused | "YR": {"Code": "YR", "Type": "System Battery Restoral", "Description": "Low battery has been corrected", "Concerns": "Unused" },
YS | Communications Trouble | RECEIVER and TRANSMITTER | Unused | "YS": {"Code": "YS", "Type": "Communications Trouble", "Description": "RECEIVER and TRANSMITTER", "Concerns": "Unused" },
YT | System Battery Trouble | Low battery in control/communicator | Unused | "YT": {"Code": "YT", "Type": "System Battery Trouble", "Description": "Low battery in control/communicator", "Concerns": "Unused" },
YU | Diagnostic Error | An expansion/peripheral device is reporting a diagnostic error | Condition number | "YU": {"Code": "YU", "Type": "Diagnostic Error", "Description": "An expansion/peripheral device is reporting a diagnostic error", "Concerns": "Condition number" },
YW | Watchdog Reset | The TRANSMITTER created an internal reset | Unused | "YW": {"Code": "YW", "Type": "Watchdog Reset", "Description": "The TRANSMITTER created an internal reset", "Concerns": "Unused" },
YX | Service Required | A TRANSMITTER/RECEIVER needs service | Unused | "YX": {"Code": "YX", "Type": "Service Required", "Description": "A TRANSMITTER/RECEIVER needs service", "Concerns": "Unused" },
YY | Status Report | This is a header for an account status report transmission | Unused | "YY": {"Code": "YY", "Type": "Status Report", "Description": "This is a header for an account status report transmission", "Concerns": "Unused" },
YZ | Service Completed | Required TRANSMITTER / RECEIVER service completed | Mfr defined | "YZ": {"Code": "YZ", "Type": "Service Completed", "Description": "Required TRANSMITTER / RECEIVER service completed", "Concerns": "Mfr defined" },
ZA | Freeze Alarm | Low temperature detected at premises | Zone or point | "ZA": {"Code": "ZA", "Type": "Freeze Alarm", "Description": "Low temperature detected at premises", "Concerns": "Zone or point" },
ZB | Freeze Bypass | Low temperature detection has been bypassed | Zone or point | "ZB": {"Code": "ZB", "Type": "Freeze Bypass", "Description": "Low temperature detection has been bypassed", "Concerns": "Zone or point" },
ZH | Freeze Alarm Restore | Alarm condition eliminated | Zone or point | "ZH": {"Code": "ZH", "Type": "Freeze Alarm Restore", "Description": "Alarm condition eliminated", "Concerns": "Zone or point" },
ZJ | Freeze Trouble Restore | Trouble condition eliminated | Zone or point | "ZJ": {"Code": "ZJ", "Type": "Freeze Trouble Restore", "Description": "Trouble condition eliminated", "Concerns": "Zone or point" },
ZR | Freeze Restoral | Alarm/trouble condition has been eliminated | Zone or point | "ZR": {"Code": "ZR", "Type": "Freeze Restoral", "Description": "Alarm/trouble condition has been eliminated", "Concerns": "Zone or point" },
ZS | Freeze Supervisory | Unsafe freeze detection system condition | Zone or point | "ZS": {"Code": "ZS", "Type": "Freeze Supervisory", "Description": "Unsafe freeze detection system condition", "Concerns": "Zone or point" },
ZT | Freeze Trouble | Zone disabled by fault | Zone or point | "ZT": {"Code": "ZT", "Type": "Freeze Trouble", "Description": "Zone disabled by fault", "Concerns": "Zone or point" },
ZU | Freeze Unbypass | Low temperature detection bypass removed | Zone or point | "ZU": {"Code": "ZU", "Type": "Freeze Unbypass", "Description": "Low temperature detection bypass removed", "Concerns": "Zone or point" },

## Sheet1
Data Code | Short Description | Long Description | Address
AA | Alarm – Panel Substitution | An attempt to substitute an alternate alarm panel for a secure panel has been made | Condition number
AB | Abort | An event message was not sent due to User action | Zone or point
AN | Analog Restoral | An analog fire sensor has been restored to normal operation | Zone or point
AR | AC Restoral | AC power has been restored | Unused
AS | Analog Service | An analog fire sensor needs to be cleaned or calibrated | Zone or point
AT | AC Trouble | AC power has been failed | Unused
BA | Burglary Alarm | Burglary zone has been violated while armed | Zone or point
BB | Burglary Bypass | Burglary zone has been bypassed | Zone or point
BC | Burglary Cancel | Alarm has been cancelled by authorized user | User number
BD | Swinger Trouble | A non-fire zone has been violated after a Swinger Shutdown on the zone | Zone or point
BE | Swinger Trouble Restore | A non-fire zone restores to normal from a Swinger Trouble state | Zone or point
BG | Unverified Event - Burglary | A point assigned to a Cross Point group has gone into alarm but the Cross Point remained normal | Zone or point
BH | Burglary Alarm Restore | Alarm condition eliminated | Zone or point
BJ | Burglary Trouble Restore | Trouble condition eliminated | Zone or point
BM | Burglary Alarm - Cross Point | Burglary alarm w/cross point also in alarm - alarm verified | Zone or point
BR | Burglary Restoral | Alarm/trouble condition has been eliminated | Zone or point
BS | Burglary Supervisory | Unsafe intrusion detection system condition | Zone or point
BT | Burglary Trouble | Burglary zone disabled by fault | Zone or point
BU | Burglary Unbypass | Zone bypass has been removed | Zone or point
BV | Burglary Verified | A burglary alarm has occurred and been verified within programmed conditions. (zone or point not sent) | Area number
BX | Burglary Test | Burglary zone activated during testing | Zone or point
BZ | Missing Supervision | A non-fire Supervisory point has gone missing | Zone or point
CA | Automatic Closing | System armed automatically | Area number
CD | Closing Delinquent | The system has not been armed for a programmed amount of time | Area number
CE | Closing Extend | Extend closing time | User number
CF | Forced Closing | System armed, some zones not ready | User number
CG | Close Area | System has been partially armed | Area number
CI | Fail to Close | An area has not been armed at the end of the closing window | Area number
CJ | Late Close | An area was armed after the closing window | User number
CK | Early Close | An area was armed before the closing window | User number
CL | Closing Report | System armed, normal | User number
CM | Missing Alarm - Recent Closing | A point has gone missing within 2 minutes of closing | Zone or point
CO | Command Sent | A command has been sent to an expansion/peripheral device | Condition number
CP | Automatic Closing | System armed automatically | User number
CQ | Remote Closing | The system was armed from a remote location | User number
CR | Recent Closing | An alarm occurred within five minutes after the system was closed | User number
CS | Closing Keyswitch | Account has been armed by keyswitch | Zone or point
CT | Late to Open | System was not disarmed on time | Area number
CW | Was Force Armed | Header for a force armed session, forced point msgs may follow | Area number
CX | Custom Function Executed | The panel has executed a preprogrammed set of instructions | Custom Function number
CZ | Point Closing | A point, as opposed to a whole area or account, has closed | Zone or point
DA | Card Assigned | An access ID has been added to the controller | User number
DB | Card Deleted | An access ID has been deleted from the controller | User number
DC | Access Closed | Access to all users prohibited | Door number
DD | Access Denied | Access denied, unknown code | Door number
DE | Request to Enter | An access point was opened via a Request to Enter device | Door number
DF | Door Forced | Door opened without access request | Door number
DG | Access Granted | Door access granted | Door number
DH | Door Left Open - Restoral | An access point in a Door Left Open state has restored | Door number
DI | Access Denied – Passback | Access denied because credential has not exited area before attempting to re-enter same area | Door number
DJ | Door Forced - Trouble | An access point has been forced open in an unarmed area | Door number
DK | Access Lockout | Access denied, known code | Door number
DL | Door Left Open - Alarm | An open access point when open time expired in an armed area | Door number
DM | Door Left Open - Trouble | An open access point when open time expired in an unarmed area | Door number
DN | Door Left Open (non-alarm, non-trouble) | An access point was open when the door cycle time expired | Door number
DO | Access Open | Access to authorized users allowed | Door number
DP | Access Denied - Unauthorized Time | An access request was denied because the request is occurring outside the user’s authorized time window(s) | Door number
DQ | Access Denied - Unauthorized Arming State | An access request was denied because the user was not authorized in this area when the area was armed | Door number
DR | Door Restoral | Access alarm/trouble condition eliminated | Door number
DS | Door Station | Identifies door for next report | Door number
DT | Access Trouble | Access system trouble | Unused
DU | Dealer ID | Dealer ID number | Dealer ID
DV | Access Denied - Unauthorized Entry Level | An access request was denied because the user is not authorized in this area | Door number
DW | Access Denied - Interlock | An access request was denied because the doors associated Interlock point is open | Door number
DX | Request to Exit | An access point was opened via a Request to Exit device | Door number
DY | Door Locked | The door’s lock has been engaged | Door number
DZ | Access Denied - Door Secured | An access request was denied because the door has been placed in an Access Closed state | Door number
EA | Exit Alarm | An exit zone remained violated at the end of the exit delay period | Zone or point
EE | Exit Error | An exit zone remained violated at the end of the exit delay period | User number
EJ | Expansion Tamper Restore | Expansion device tamper restoral | Expansion device number
EM | Expansion Device Missing | Expansion device missing | Expansion device number
EN | Expansion Missing Restore | Expansion device communications re-established | Expansion device number
ER | Expansion Restoral | Expansion device trouble eliminated | Expander number
ES | Expansion Device Tamper | Expansion device enclosure tamper | Expansion device number
ET | Expansion Trouble | Expansion device trouble | Expander number
EX | External Device Condition | A specific reportable condition is detected on an external device | Device number
EZ | Missing Alarm - Exit Error | A point remained missing at the end of the exit delay period | Point number
FA | Fire Alarm | Fire condition detected | Zone or point
FB | Fire Bypass | Zone has been bypassed | Zone or point
FC | Fire Cancel | A Fire Alarm has been cancelled by an authorized person | Zone or point
FG | Unverified Event – Fire | A point assigned to a Cross Point group has gone into alarm but the Cross Point remained normal | Zone or point
FH | Fire Alarm Restore | Alarm condition eliminated | Zone or point
FI | Fire Test Begin | The transmitter area's fire test has begun | Area number
FJ | Fire Trouble Restore | Trouble condition eliminated | Zone or point
FK | Fire Test End | The transmitter area's fire test has ended | Area number
FL | Fire Alarm Silenced | The fire panel’s sounder was silenced by command | Zone or point
FM | Fire Alarm - Cross Point | Fire Alarm with Cross Point also in alarm verifying the Fire Alarm | Point number
FQ | Fire Supervisory Trouble Restore | A fire supervisory zone that was in trouble condition has now restored to normal | Zone or point
FR | Fire Restoral | Alarm/trouble condition has been eliminated | Zone or point
FS | Fire Supervisory | Unsafe fire detection system condition | Zone or point
FT | Fire Trouble | Zone disabled by fault | Zone or point
FU | Fire Unbypass | Bypass has been removed | Zone or point
FV | Fire Supervision Restore | A fire supervision zone that was in alarm has restored to normal | Zone or point
FW | Fire Supervisory Trouble | A fire supervisory zone is now in a trouble condition | Zone or point
FX | Fire Test | Fire zone activated during test | Zone or point
FY | Missing Fire Trouble | A fire point is now logically missing | Zone or point
FZ | Missing Fire Supervision | A Fire Supervisory point has gone missing | Zone or point
GA | Gas Alarm | Gas alarm condition detected | Zone or point
GB | Gas Bypass | Zone has been bypassed | Zone or point
GH | Gas Alarm Restore | Alarm condition eliminated | Zone or point
GJ | Gas Trouble Restore | Trouble condition eliminated | Zone or point
GR | Gas Restoral | Alarm/trouble condition has been eliminated | Zone or point
GS | Gas Supervisory | Unsafe gas detection system condition | Zone or point
GT | Gas Trouble | Zone disabled by fault | Zone or point
GU | Gas Unbypass | Bypass has been removed | Zone or point
GX | Gas Test | Zone activated during test | Zone or point
HA | Holdup Alarm | Silent alarm, user under duress | Zone or point
HB | Holdup Bypass | Zone has been bypassed | Zone or point
HH | Holdup Alarm Restore | Alarm condition eliminated | Zone or point
HJ | Holdup Trouble Restore | Trouble condition eliminated | Zone or point
HR | Holdup Restoral | Alarm/trouble condition has been eliminated | Zone or point
HS | Holdup Supervisory | Unsafe holdup system condition | Zone or point
HT | Holdup Trouble | Zone disabled by fault | Zone or point
HU | Holdup Unbypass | Bypass has been removed | Zone or point
IA | Equipment Failure Condition | A specific, reportable condition is detected on a device | Point number
IR | Equipment Fail - Restoral | The equipment condition has been restored to normal | Point number
JA | User Code Tamper | Too many unsuccessful attempts have been made to enter a user ID | Area number
JD | Date Changed | The date was changed in the transmitter/receiver | User number
JH | Holiday Changed | The transmitter's holiday schedule has been changed | User number
JK | Latchkey Alert | A designated user passcode has not been entered during a scheduled time window | User number
JL | Log Threshold | The transmitter's log memory has reached its threshold level | Unused
JO | Log Overflow | The transmitter's log memory has overflowed | Unused
JP | User On Premises | A designated user passcode has been used to gain access to the premises. | User number
JR | Schedule Executed | An automatic scheduled event was executed | Area number
JS | Schedule Changed | An automatic schedule was changed | User number
JT | Time Changed | The time was changed in the transmitter/receiver | User number
JV | User Code Changed | A user's code has been changed | User number
JX | User Code Deleted | A user's code has been removed | User number
JY | User Code Added | A user’s code has been added | User number
JZ | User Level Set | A user’s authority level has been set | User number
KA | Heat Alarm | High temperature detected on premise | Zone or point
KB | Heat Bypass | Zone has been bypassed | Zone or point
KH | Heat Alarm Restore | Alarm condition eliminated | Zone or point
KJ | Heat Trouble Restore | Trouble condition eliminated | Zone or point
KR | Heat Restoral | Alarm/trouble condition has been eliminated | Zone or point
KS | Heat Supervisory | Unsafe heat detection system condition | Zone or point
KT | Heat Trouble | Zone disabled by fault | Zone or point
KU | Heat Unbypass | Bypass has been removed | Zone or point
LB | Local Program | Begin local programming | Unused
LD | Local Program Denied | Access code incorrect | Unused
LE | Listen-in Ended | The listen-in session has been terminated | Unused
LF | Listen-in Begin | The listen-in session with the RECEIVER has begun | Unused
LR | Phone Line Restoral | Phone line restored to service | Line number
LS | Local Program Success | Local programming successful | Unused
LT | Phone Line Trouble | Phone line trouble report | Line number
LU | Local Program Fail | Local programming unsuccessful | Unused
LX | Local Programming Ended | A local programming session has been terminated | Unused
MA | Medical Alarm | Emergency assistance request | Zone or point
MB | Medical Bypass | Zone has been bypassed | Zone or point
MH | Medical Alarm Restore | Alarm condition eliminated | Zone or point
MI | Message | A canned message is being sent | Message number
MJ | Medical Trouble Restore | Trouble condition eliminated | Zone or point
MR | Medical Restoral | Alarm/trouble condition has been eliminated | Zone or point
MS | Medical Supervisory | Unsafe system condition exists | Zone or point
MT | Medical Trouble | Zone disabled by fault | Zone or point
MU | Medical Unbypass | Bypass has been removed | Zone or point
NA | No Activity | There has been no zone activity for a programmed amount of time | Zone number
NC | Network Condition | A communications network has a specific reportable condition | Network number
NF | Forced Perimeter Arm | Some zones/points not ready | Area number
NL | Perimeter Armed | An area has been perimeter armed | Area number
NM | Perimeter Armed, User Defined | A user defined area has been perimeter armed | Area number
NR | Network Restoral | A communications network has returned to normal operation | Network number
NS | Activity Resumed | A zone has detected activity after an alert | Zone number
NT | Network Failure | A communications network has failed | Network number
OA | Automatic Opening | System has disarmed automatically | Area number
OC | Cancel Report | Untyped zone cancel | User number
OG | Open Area | System has been partially disarmed | Area number
OH | Early to Open from Alarm | An area in alarm was disarmed before the opening window | User number
OI | Fail to Open | An area has not been armed at the end of the opening window | Area number
OJ | Late Open | An area was disarmed after the opening window | User number
OK | Early Open | An area was disarmed before the opening window | User number
OL | Late to Open from Alarm | An area in alarm was disarmed after the opening window | User number
OP | Opening Report | Account was disarmed | User number
OQ | Remote Opening | The system was disarmed from a remote location | User number
OR | Disarm From Alarm | Account in alarm was reset/disarmed | User number
OS | Opening Keyswitch | Account has been disarmed by keyswitch | Zone or point
OT | Late To Close | System was not armed on time | User number
OU | Output State – Trouble | An output on a peripheral device or NAC is not functioning | Output number
OV | Output State – Restore | An output on a peripheral device or NAC is back to normal operation | Output number
OZ | Point Opening | A point, rather than a full area or account, disarmed | Zone or point
PA | Panic Alarm | Emergency assistance request, manually activated | Zone or point
PB | Panic Bypass | Panic zone has been bypassed | Zone or point
PH | Panic Alarm Restore | Alarm condition eliminated | Zone or point
PJ | Panic Trouble Restore | Trouble condition eliminated | Zone or point
PR | Panic Restoral | Alarm/trouble condition has been eliminated | Zone or point
PS | Panic Supervisory | Unsafe system condition exists | Zone or point
PT | Panic Trouble | Zone disabled by fault | Zone or point
PU | Panic Unbypass | Panic zone bypass has been removed | Zone or point
QA | Emergency Alarm | Emergency assistance request | Zone or point
QB | Emergency Bypass | Zone has been bypassed | Zone or point
QH | Emergency Alarm Restore | Alarm condition has been eliminated | Zone or point
QJ | Emergency Trouble Restore | Trouble condition has been eliminated | Zone or point
QR | Emergency Restoral | Alarm/trouble condition has been eliminated | Zone or point
QS | Emergency Supervisory | Unsafe system condition exists | Zone or point
QT | Emergency Trouble | Zone disabled by fault | Zone or point
QU | Emergency Unbypass | Bypass has been removed | Zone or point
RA | Remote Programmer Call Failed | Transmitter failed to communicate with the remote programmer | Unused
RB | Remote Program Begin | Remote programming session initiated | Unused
RC | Relay Close | A relay has energized | Relay number
RD | Remote Program Denied | Access passcode incorrect | Unused
RN | Remote Reset | A TRANSMITTER was reset via a remote programmer | Unused
RO | Relay Open | A relay has de-energized | Relay number
RP | Automatic Test | Automatic communication test report | Unused
RR | Power Up | System lost power, is now restored | Unused
RS | Remote Program Success | Remote programming successful | Unused
RT | Data Lost | Dialer data lost, transmission error | Line number
RU | Remote Program Fail | Remote programming unsuccessful | Unused
RX | Manual Test | Manual communication test report | User number
RY | Test Off Normal | Test signal(s) indicates abnormal condition(s) exist | Zone or point
SA | Sprinkler Alarm | Sprinkler flow condition exists | Zone or point
SB | Sprinkler Bypass | Sprinkler zone has been bypassed | Zone or point
SC | Change of State | An expansion/peripheral device is reporting a new condition or state change | Condition number
SH | Sprinkler Alarm Restore | Alarm condition eliminated | Zone or point
SJ | Sprinkler Trouble Restore | Trouble condition eliminated | Zone or point
SR | Sprinkler Restoral | Alarm/trouble condition has been eliminated | Zone or point
SS | Sprinkler Supervisory | Unsafe sprinkler system condition | Zone or point
ST | Sprinkler Trouble | Zone disabled by fault | Zone or point
SU | Sprinkler Unbypass | Sprinkler zone bypass has been removed | Zone or point
TA | Tamper Alarm | Alarm equipment enclosure opened | Zone or point
TB | Tamper Bypass | Tamper detection has been bypassed | Zone or point
TC | All Points Tested | All point tested | Unused
TE | Test End | Communicator restored to operation | Unused
TH | Tamper Alarm Restore | An Expansion Device’s tamper switch restores to normal from an Alarm state | Unused
TJ | Tamper Trouble Restore | An Expansion Device’s tamper switch restores to normal from a Trouble state | Unused
TP | Walk Test Point | This point was tested during a Walk Test | Point number
TR | Tamper Restoral | Alarm equipment enclosure has been closed | Zone or point
TS | Test Start | Communicator taken out of operation | Unused
TT | Tamper Trouble | Equipment enclosure opened in disarmed state | Zone or point
TU | Tamper Unbypass | Tamper detection bypass has been removed | Zone or point
TW | Area Watch Start | Area watch feature has been activated | Unused
TX | Test Report | An unspecified (manual or automatic) communicator test | Unused
TZ | Area Watch End | Area watch feature has been deactivated | Unused
UA | Untyped Zone Alarm | Alarm condition from zone of unknown type | Zone or point
UB | Untyped Zone Bypass | Zone of unknown type has been bypassed | Zone or point
UG | Unverified Event – Untyped | A point assigned to a Cross Point group has gone into alarm but the Cross Point remained normal | Zone or point
UH | Untyped Alarm Restore | Alarm condition eliminated | Zone or point
UJ | Untyped Trouble Restore | Trouble condition eliminated | Zone or point
UR | Untyped Zone Restoral | Alarm/trouble condition eliminated from zone of unknown type | Zone or point
US | Untyped Zone Supervisory | Unsafe condition from zone of unknown type | Zone or point
UT | Untyped Zone Trouble | Trouble condition from zone of unknown type | Zone or point
UU | Untyped Zone Unbypass | Bypass on zone of unknown type has been removed | Zone or point
UX | Undefined | An undefined alarm condition has occurred | Unused
UY | Untyped Missing Trouble | A point or device which was not armed is now logically missing | Zone or point
UZ | Untyped Missing Alarm | A point or device which was armed is now logically missing | Zone or point
VI | Printer Paper In | TRANSMITTER or RECEIVER paper in | Printer number
VO | Printer Paper Out | TRANSMITTER or RECEIVER paper out | Printer number
VR | Printer Restore | TRANSMITTER or RECEIVER trouble restored | Printer number
VT | Printer Trouble | TRANSMITTER or RECEIVER trouble | Printer number
VX | Printer Test | TRANSMITTER or RECEIVER test | Printer number
VY | Printer Online | RECEIVER’S printer is now online | Unused
VZ | Printer Offline | RECEIVER’S printer is now offline | Unused
WA | Water Alarm | Water detected at protected premises | Zone or point
WB | Water Bypass | Water detection has been bypassed | Zone or point
WH | Water Alarm Restore | Water alarm condition eliminated | Zone or point
WJ | Water Trouble Restore | Water trouble condition eliminated | Zone or point
WR | Water Restoral | Water alarm/trouble condition has been eliminated | Zone or point
WS | Water Supervisory | Water unsafe water detection system condition | Zone or point
WT | Water Trouble | Water zone disabled by fault | Zone or point
WU | Water Unbypass | Water detection bypass has been removed | Zone or point
XA | Extra Account Report | CS RECEIVER has received an event from a non-existent account | Unused
XE | Extra Point | Panel has sensed an extra point not specified for this site | Point number
XF | Extra RF Point | Panel has sensed an extra RF point not specified for this site | Point number
XH | RF Interference Restoral | A radio device is no longer detecting RF Interference | Receiver number
XI | Sensor Reset | A user has reset a sensor | Zone or point
XJ | RF Receiver Tamper Restoral | A Tamper condition at a premises RF Receiver has been restored | Receiver number
XL | Low Received Signal Strength | The RF signal strength of a reported event is below minimum level | Receiver number
XM | Missing Alarm - Cross Point | Missing Alarm verified by Cross Point in Alarm (or missing) | Zone or point
XQ | RF Interference | A radio device is detecting RF Interference | Receiver number
XR | Transmitter Battery Restoral | Low battery has been corrected | Zone or point
XS | RF Receiver Tamper | A Tamper condition at a premises receiver is detected | Receiver number
XT | Transmitter Battery Trouble | Low battery in wireless transmitter | Zone or point
XW | Forced Point | A point was forced out of the system at arm time | Zone or point
XX | Fail to Test | A specific test from a panel was not received | Unused
YA | Bell Fault | A trouble condition has been detected on a Local Bell, Siren, or Annunciator | Unused
YB | Busy Seconds | Percent of time receiver's line card is on-line | Line card number
YC | Communications Fail | RECEIVER and TRANSMITTER | Unused
YD | Receiver Line Card Trouble | A line card identified by the passed address is in trouble | Line card number
YE | Receiver Line Card Restored | A line card identified by the passed address is restored | Line card number
YF | Parameter Checksum Fail | System data corrupted | Unused
YG | Parameter Changed | A TRANSMITTER’S parameters have been changed | Unused
YH | Bell Restored | A trouble condition has been restored on a Local Bell, Siren, or Annunciator | Unused
YI | Overcurrent Trouble | An Expansion Device has detected an overcurrent condition | Unused
YJ | Overcurrent Restore | An Expansion Device has restored from an overcurrent condition | Unused
YK | Communications Restoral | TRANSMITTER has resumed communication with a RECEIVER | Unused
YM | System Battery Missing | TRANSMITTER/RECEIVER battery is missing | Unused
YN | Invalid Report | TRANSMITTER has sent a packet with invalid data | Unused
YO | Unknown Message | An unknown message was received from automation or the printer | Unused
YP | Power Supply Trouble | TRANSMITTER/RECEIVER has a problem with the power supply | Unused
YQ | Power Supply Restored | TRANSMITTER’S/RECEIVER’S power supply has been restored | Unused
YR | System Battery Restoral | Low battery has been corrected | Unused
YS | Communications Trouble | RECEIVER and TRANSMITTER | Unused
YT | System Battery Trouble | Low battery in control/communicator | Unused
YU | Diagnostic Error | An expansion/peripheral device is reporting a diagnostic error | Condition number
YW | Watchdog Reset | The TRANSMITTER created an internal reset | Unused
YX | Service Required | A TRANSMITTER/RECEIVER needs service | Unused
YY | Status Report | This is a header for an account status report transmission | Unused
YZ | Service Completed | Required TRANSMITTER / RECEIVER service completed | Mfr defined
ZA | Freeze Alarm | Low temperature detected at premises | Zone or point
ZB | Freeze Bypass | Low temperature detection has been bypassed | Zone or point
ZH | Freeze Alarm Restore | Alarm condition eliminated | Zone or point
ZJ | Freeze Trouble Restore | Trouble condition eliminated | Zone or point
ZR | Freeze Restoral | Alarm/trouble condition has been eliminated | Zone or point
ZS | Freeze Supervisory | Unsafe freeze detection system condition | Zone or point
ZT | Freeze Trouble | Zone disabled by fault | Zone or point
ZU | Freeze Unbypass | Low temperature detection bypass removed | Zone or point